## Lesson Plan E.C-II
GOVT. POLYTECHNIC NAYAGARH LESSON PLAN
Discipline : ELECTRICAL ENGG. | Semester: 5th Sem | Name of the Teaching Faculty : Suryamani Sahoo
Subject : E.C-II | No. of Days / per week class allotted : 04 | Semester From date : 14.07.2025 To Date : 15.11.2025 No. of Weesks : 17
Week | Class Day | Topics
Week 1 (14 July to 19 July) | 1st | ALTERNATOR: 1.1. Types of alternator and their constructional features.
| 2nd | 1.2. Basic working principle of alternator and the relation between speed and frequency.
| 3rd | 1.3. Terminology in armature winding and expressions for winding factors (Pitch factor, Distribution factor).
| 4th | 1.4. Explain harmonics, its causes and impact on winding factor
Week 2 (21 July to 25 July) | 1st | 1.5. E.M.F equation of alternator. (Solve numerical problems).
| 2nd | 1.6. Explain Armature reaction and its effect on emf at different power factor of load.
| 3rd | 1.7. The vector diagram of loaded alternator. (Solve numerical problems)
| 4th | 1.8. Testing of alternator (Solve numerical problems) 1.8.1. Open circuit test.
Week 3(28 July to 02 Aug.) | 1st | 1.8.2. Short circuit test.
| 2nd | 1.9. Determination of voltage regulation of Alternator by direct loading and synchronous impedance method. (Solve numerical problems)
| 3rd | 1.10. Parallel operation of alternator using synchro-scope and dark & bright lamp method
| 4th | 1.11. Explain distribution of load by parallel connected alternators.
Week 4 (4 Aug to 8 Aug) | 1st | 2. SYNCHRONOUS MOTOR: 2.1. Constructional feature of Synchronous Motor. 2.2. Principles of operation, concept of load angle.
| 2nd | 2.3. Derive torque, power developed
| 3rd | 2.4. Effect of varying load with constant excitation
| 4th | 2.5. Effect of varying excitation with constant load
Week 5(11 Aug to 16 Aug) | 1st | 2.6. Power angle characteristics of cylindrical rotor motor
| 2nd | 2.7. Explain effect of excitation on Armature current and power factor.
| 3rd | 2.8. Hunting in Synchronous Motor. 2.9. Function of Damper Bars in synchronous motor and generator
| 4th | 2.10. Describe method of starting of Synchronous motor. 2.11. State application of synchronous motor.
Week 6(18 Aug to 22 Aug) | 1st | 3. THREE PHASE INDUCTION MOTOR: 3.1. Production of rotating magnetic field
| 2nd | 3.2. Constructional feature of Squirrel cage and Slip ring induction motors.
| 3rd | 3.3. Working principles of operation of 3-phase Induction motor
| 4th | 3.4. Define slip speed, slip and establish the relation of slip with rotor quantities.
Week 7(25 Aug to 30Aug) | 1st | 3.5. Derive expression for torque during starting and running conditions and derive conditions for maximum torque. (solve numerical problems)
| 2nd | 3.6. Torque-slip characteristics. 3.7. Derive relation between full load torque and starting torque etc. (solve numerical problems)
| 3rd | 3.8. Establish the relations between Rotor Copper loss, Rotor output and Gross Torque and relationship of slip with rotor copper loss. (solve numerical problems)
| 4th | 3.9. Methods of starting and different types of starters used for three phase Induction motor. 1st Class Test.
Week 8(1 Sept to 06 Sept) | 1st | 3.10. Explain speed control by Voltage Control, Rotor resistance control, Pole changing, frequency control methods.
| 2nd | 3.11. Plugging as applicable to three phase induction motor.
| 3rd | 3.12. Describe different types of motor enclosures.
| 4th | 3.13. Explain principle of Induction Generator and state its applications.
Week 9(8 Sept to 12 Sept) | 1st | 4. SINGLE PHASE INDUCTION MOTOR: 4.1. Explain Ferrari’s principle.
| 2nd | 4.2. Explain double revolving field theory and Cross-field theory to analyze starting torque of 1-phase induction motor
| 3rd | 4.3. Explain Working principle, Torque speed characteristics, performance characteristics and application of following single phase motors.4.3.1. Split phase motor.
| 4th | 4.3.2. Capacitor Start motor. 4.3.3. Capacitor start, capacitor run motor.
Week 10(15 Sept to 20 Sept) | 1st | 4.3.4. Permanent capacitor type motor. 4.3.5. Shaded pole motor.
| 2nd | 4.4. Explain the method to change the direction of rotation of above motors
| 3rd | 5. COMMUTATOR MOTORS: 5.1. Construction, working principle of single phase series motor
| 4th | 5.1 Running characteristic and application of single phase series motor
Week 11(22 Sept to 26 Sept) | 1st | Revision & Intenal Examination
| 2nd | Revision & Intenal Examination
| 3rd | Revision & Intenal Examination
| 4th | Revision & Intenal Examination
Week 12(3 Oct to 10 Oct) | 1st | 5.2. Construction of Universal motors
| 2nd | 5.2 Working principle and application of Universal motors
| 3rd | 5.3. Working principle of Repulsion start Motor
| 4th | 5.3. Working principle of Repulsion start Induction run motor.
Week 13(13 Oct to 18 Oct) | 1st | 5.3. Working principle of Repulsion Induction motor.
| 2nd | 6. SPECIAL ELECTRICAL MACHINE: 6.1. Principle of Stepper motor.
| 3rd | 6.2. Classification of Stepper motor
| 4th | 6.3. Principle of variable reluctant stepper motor.
Week 14(20 Oct to 24 Oct) | 1st | 6.4. Principle of Permanent magnet stepper motor
| 2nd | 6.5. Principle of hybrid stepper motor.
| 3rd | 6.6. Applications of Stepper motor
4th
Week 15(27 Oct to 31 Oct) | 1st | 3.9. Methods of starting and different types of starters used for three phase Induction moto
| 2nd | Revision& PYQD
| 3rd | Revision& PYQD
| 4th | CLASS TEST 2
Week 16(1 Nov to 7 Nov) | 1st | Revision& PYQD
| 2nd | Revision& PYQD
| 3rd | Revision& PYQD
| 4th | Revision& PYQD
Week 17(10 Nov to 15 Nov) | 1St | Revision& PYQD
| 2nd | Revision& PYQD
| 3rd | Revision& PYQD
| 4th | Revision& PYQD

## Lesson Plan REPT
GOVT. POLYTECHNIC NAYAGARH LESSON PLAN
Discipline : ELECTRICAL ENGG. | Semester: 3rd Sem | Name of the Teaching Faculty : Suryamani Sahoo
Subject : R.E.P.T | No. of Days / per week class allotted : 03 | Semester From date : 14.07.2025 To Date : 15.11.2025 No. of Weesks : 17
Week | Class Day | Topics
Week 1 (14 July to 19 July) | 1st | Solar PV and Concentrated Solar Power Plants 1.1 Solar Map of India: Global solar power radiation, Solar PV
| 2nd | 1.1 Solar Map of India: Global solar power radiation, Solar PV
| 3rd | 1.2 Concentrated Solar Power (CSP) plants, construction and working of: Power Tower, Parabolic Trough, Parabolic Dish, Fresnel Reflectors
Week 2 (21 July to 25 July) | 1st | 1.2 Concentrated Solar Power (CSP) plants, construction and working of: Power Tower, Parabolic Trough, Parabolic Dish, Fresnel Reflectors
| 2nd | 1.2 Concentrated Solar Power (CSP) plants, construction and working of: Power Tower, Parabolic Trough, Parabolic Dish, Fresnel Reflectors
| 3rd | 1.2 Concentrated Solar Power (CSP) plants, construction and working of: Power Tower, Parabolic Trough, Parabolic Dish, Fresnel Reflectors
Week 3(28 July to 02 Aug.) | 1st | 1.3 Solar Photovoltaic (PV) power plant: components layout, construction, working. Roof top solar PV power system
| 2nd | 1.3 Solar Photovoltaic (PV) power plant: components layout, construction, working. Roof top solar PV power system
| 3rd | 1.3 Solar Photovoltaic (PV) power plant: components layout, construction, working. Roof top solar PV power system
Week 4 (4 Aug to 8 Aug) | 1st | Large Wind Power Plants 2.1 Wind Map of India: Wind power density in watts per square meter Lift and drag principle; long path theory.
| 2nd | Large Wind Power Plants 2.1 Wind Map of India: Wind power density in watts per square meter Lift and drag principle; long path theory.
| 3rd | Large Wind Power Plants 2.1 Wind Map of India: Wind power density in watts per square meter Lift and drag principle; long path theory.
Week 5(11 Aug to 16 Aug) | 1st | 2.2 Geared type wind power plants: components, layout and working. Direct drive type wind power plants: components, layout and working.
| 2nd | 2.2 Geared type wind power plants: components, layout and working. Direct drive type wind power plants: components, layout and working.
| 3rd | 2.2 Geared type wind power plants: components, layout and working. Direct drive type wind power plants: components, layout and working.
Week 6(18 Aug to 22 Aug) | 1st | 2.3 Constant Speed Electric Generators: Squirrel Cage Induction Generators(SCIG)
| 2nd | 2.3 Constant Speed Electric Generators: Squirrel Cage Induction Generators(SCIG)
| 3rd | 2.4 Wound Rotor Induction Generator (WRIG); Variable Speed Electric Generators: Doubly-fed induction generator (DFIG), wound rotor synchronous generator (WRSG), permanent magnet synchronous generator (PMSG).
| 4th | 2.4 Wound Rotor Induction Generator (WRIG); Variable Speed Electric Generators: Doubly-fed induction generator (DFIG), wound rotor synchronous generator (WRSG), permanent magnet synchronous generator (PMSG).
Week 7(25 Aug to 30Aug) | 1st | REVISION &PYQD
| 2nd | REVISION &PYQD
| 3rd | CLASS TEST -1
Week 8(1 Sept to 06 Sept) | 1st | 2.4 Wound Rotor Induction Generator (WRIG); Variable Speed Electric Generators: Doubly-fed induction generator (DFIG), wound rotor synchronous generator (WRSG), permanent magnet synchronous generator (PMSG).
| 2nd | 2.4 Wound Rotor Induction Generator (WRIG); Variable Speed Electric Generators: Doubly-fed induction generator (DFIG), wound rotor synchronous generator (WRSG), permanent magnet synchronous generator (PMSG).
| 3rd | 2.4 Wound Rotor Induction Generator (WRIG); Variable Speed Electric Generators: Doubly-fed induction generator (DFIG), wound rotor synchronous generator (WRSG), permanent magnet synchronous generator (PMSG).
Week 9(8 Sept to 12 Sept) | 1st | Small Wind Turbines 3.1 Horizon axis small wind turbine: direct drive type, components and working Horizontal axis small wind turbine: geared type, components and working
| 2nd | 3.1 Horizon axis small wind turbine: direct drive type, components and working Horizontal axis small wind turbine: geared type, components and working
| 3rd | 3.1 Horizon axis small wind turbine: direct drive type, components and working Horizontal axis small wind turbine: geared type, components and working
Week 10(15 Sept to 20 Sept) | 1st | 3.1 Horizon axis small wind turbine: direct drive type, components and working Horizontal axis small wind turbine: geared type, components and working
| 2nd | 3.2 Vertical axis small wind turbine: direct drive and geared, components and Working Types of towers and installation of small wind turbines on rooftops and open fields.
| 3rd | 3.2 Vertical axis small wind turbine: direct drive and geared, components and Working Types of towers and installation of small wind turbines on rooftops and open fields.
Week 11(22 Sept to 26 Sept) | 1st | 3.2 Vertical axis small wind turbine: direct drive and geared, components and Working Types of towers and installation of small wind turbines on rooftops and open fields.
| 2nd | 3.2 Vertical axis small wind turbine: direct drive and geared, components and Working Types of towers and installation of small wind turbines on rooftops and open fields.
| 3rd | INTERNAL EXAMINATION-1
Week 12(3 Oct to 10 Oct) | 1st | 3.2 Vertical axis small wind turbine: direct drive and geared, components and Working Types of towers and installation of small wind turbines on rooftops and open fields.
| 2nd | 3.3 Electric generators used in small wind power plants
| 3rd | 3.3 Electric generators used in small wind power plants
Week 13(13 Oct to 18 Oct) | 1st | Biomass-based Power Plants 4.1 Properties of solid fuel for biomass power plants: bagasse, wood chips, rice husk, municipal waste
| 2nd | 4.1 Properties of solid fuel for biomass power plants: bagasse, wood chips, rice husk, municipal waste
| 3rd | 4.2 Properties of liquid and gaseous fuel for bio mass power plants: Jatropha, bio- diesel gobar gas
Week 14(20 Oct to 24 Oct) | 1st | 4.2 Properties of liquid and gaseous fuel for bio mass power plants: Jatropha, bio- diesel gobar gas
| 2nd | 4.3 Layout of a Bio-chemical based (e.g. biogas) power plant:
| 3rd | 4.4 Layout of a Thermo-chemical based (e.g. Municipal waste) power plant
Week 15(27 Oct to 31 Oct) | 1st | 4.5 Layout of a Agro-chemical based (e.g.bio-diesel) power plant
| 2nd | Revision& PYQD
| 3rd | INTERNAL EXAMINATION-2
Week 16(1 Nov to 7 Nov) | 1st | Revision& PYQD
| 2nd | Revision& PYQD
| 3rd | Revision& PYQD
Week 17(10 Nov to 15 Nov) | 1St | Revision& PYQD
| 2nd | Revision& PYQD
| 3rd | Revision& PYQD

## Lesson Plan E.C-II LAB
GOVT. POLYTECHNIC NAYAGARH LESSON PLAN
Discipline : ELECTRICAL ENGG. | Semester: 5th Sem | Name of the Teaching Faculty : Suryamani Sahoo
Subject : E.C-II LAB | No. of Days / per week class allotted : 12 | Semester From date : 14.07.2025 To Date : 15.11.2025 No. of Weesks : 17
Week | Class Day | Topics
Week 1 (14 July to 19 July) | 1st(3Periods) | Study of (Manual and Semi automatic) Direct on Line starter, Star-Delta starter, connection and running a 3-phase Induction motor and measurement of starting current.
| 2nd(3Periods) | Study of (Manual and Semi automatic) Auto transformer starter and rotor resistance starter connection and running a 3-phase induction motor and measurement of starting curren
| 3rd(3Periods) | Study of (Manual and Semi automatic) Direct on Line starter, Star-Delta starter, connection and running a 3-phase Induction motor and measurement of starting current.
| 4th(3Periods) | Study of (Manual and Semi automatic) Auto transformer starter and rotor resistance starter connection and running a 3-phase induction motor and measurement of starting curren
Week 2 (21 July to 25 July) | 1st(3Periods) | Study of (Manual and Semi automatic) Direct on Line starter, Star-Delta starter, connection and running a 3-phase Induction motor and measurement of starting current.
| 2nd(3Periods) | Study of (Manual and Semi automatic) Auto transformer starter and rotor resistance starter connection and running a 3-phase induction motor and measurement of starting curren
| 3rd(3Periods) | Study of (Manual and Semi automatic) Direct on Line starter, Star-Delta starter, connection and running a 3-phase Induction motor and measurement of starting current.
| 4th(3Periods) | Study of (Manual and Semi automatic) Auto transformer starter and rotor resistance starter connection and running a 3-phase induction motor and measurement of starting curren
Week 3(28 July to 02 Aug.) | 1st(3Periods) | Study and Practice of connection & Reverse the direction of rotation of Three Phase Induction motor.
| 2nd(3Periods) | Study and Practice of connection & Reverse the direction of rotation of Single Phase Induction motor
| 3rd(3Periods) | Study and Practice of connection & Reverse the direction of rotation of Three Phase Induction motor.
| 4th(3Periods) | Study and Practice of connection & Reverse the direction of rotation of Single Phase Induction motor
Week 4 (4 Aug to 8 Aug) | 1st(3Periods) | Study and Practice of connection & Reverse the direction of rotation of Three Phase Induction motor.
| 2nd(3Periods) | Study and Practice of connection & Reverse the direction of rotation of Single Phase Induction motor
| 3rd(3Periods) | Study and Practice of connection & Reverse the direction of rotation of Three Phase Induction motor.
| 4th(3Periods) | Study and Practice of connection & Reverse the direction of rotation of Single Phase Induction motor
Week 5(11 Aug to 16 Aug) | 1st(3Periods) | Heat run test of 3-phase transformer
| 2nd(3Periods) | OC and SC test of alternator and determination of regulation by synchronous impedance method.
| 3rd(3Periods) | Heat run test of 3-phase transformer
| 4th(3Periods) | OC and SC test of alternator and determination of regulation by synchronous impedance method.
Week 6(18 Aug to 22 Aug) | 1st(3Periods) | Heat run test of 3-phase transformer
| 2nd(3Periods) | OC and SC test of alternator and determination of regulation by synchronous impedance method.
| 3rd(3Periods) | Heat run test of 3-phase transformer
| 4th(3Periods) | OC and SC test of alternator and determination of regulation by synchronous impedance method.
Week 7(25 Aug to 30Aug) | 1st(3Periods) | Determination of regulation of alternator by direct loading.
| 2nd(3Periods) | Parallel operation of two alternators and study load sharing
| 3rd(3Periods) | Determination of regulation of alternator by direct loading.
| 4th(3Periods) | Parallel operation of two alternators and study load sharing
Week 8(1 Sept to 06 Sept) | 1st(3Periods) | Determination of regulation of alternator by direct loading.
| 2nd(3Periods) | Parallel operation of two alternators and study load sharing
| 3rd(3Periods) | Determination of regulation of alternator by direct loading.
| 4th(3Periods) | Parallel operation of two alternators and study load sharing
Week 9(8 Sept to 12 Sept) | 1st(3Periods) | Measurement of power of a 3-phase Load using two wattmeter method and verification of the result using one 3-phase wattmeter.
| 2nd(3Periods) | Connection of 3-phase energy meter to a 3-phase load.
| 3rd(3Periods) | Measurement of power of a 3-phase Load using two wattmeter method and verification of the result using one 3-phase wattmeter.
| 4th(3Periods) | Connection of 3-phase energy meter to a 3-phase load.
Week 10(15 Sept to 20 Sept) | 1st(3Periods) | Measurement of power of a 3-phase Load using two wattmeter method and verification of the result using one 3-phase wattmeter.
| 2nd(3Periods) | Connection of 3-phase energy meter to a 3-phase load.
| 3rd(3Periods) | Measurement of power of a 3-phase Load using two wattmeter method and verification of the result using one 3-phase wattmeter.
| 4th(3Periods) | Connection of 3-phase energy meter to a 3-phase load.
Week 11(22 Sept to 26 Sept) | 1st(3Periods) | Study of an O.C.B.
| 2nd(3Periods) | Study of induction type over current / reverse power relay.
| 3rd(3Periods) | Study of an O.C.B.
| 4th(3Periods) | Study of induction type over current / reverse power relay.
Week 12(3 Oct to 10 Oct) | 1st(3Periods) | Study of an O.C.B.
| 2nd(3Periods) | Study of induction type over current / reverse power relay.
| 3rd(3Periods) | Study of an O.C.B.
| 4th(3Periods) | Study of induction type over current / reverse power relay.
Week 13(13 Oct to 18 Oct) | 1st(3Periods) | Study of Buchholz’s relay
| 2nd(3Periods) | Study of an earth fault relay.
| 3rd(3Periods) | Study of Buchholz’s relay
| 4th(3Periods) | Study of an earth fault relay.
Week 14(20 Oct to 24 Oct) | 1st(3Periods) | Study of Buchholz’s relay
| 2nd(3Periods) | Study of an earth fault relay.
| 3rd(3Periods) | Study of Buchholz’s relay
| 4th(3Periods) | Study of an earth fault relay.
Week 15(27 Oct to 31 Oct) | 1st(3Periods) | Practice for Weaker Students
| 2nd(3Periods) | Practice for Weaker Students
| 3rd(3Periods) | Grand Viavoice.
| 4th(3Periods) | Grand Viavoice.
Week 16(1 Nov to 7 Nov) | 1st(3Periods) | Practice for Weaker Students
| 2nd(3Periods) | Practice for Weaker Students
| 3rd(3Periods) | Grand Viavoice.
| 4th(3Periods) | Grand Viavoice.
Week 17(10 Nov to 15 Nov) | 1st(3Periods) | Practice for Weaker Students
| 2nd(3Periods) | Practice for Weaker Students
| 3rd(3Periods) | Grand Viavoice.
| 4th(3Periods) | Grand Viavoice.